## 05 21 00 Reference Vetting
Reference Designation | Current Citation in Spec | UFGS Vetting Status | Recommended UFGS Citation | Rationale (UFGS Governing Basis)
AWS D1.1/D1.1M | (2020; Errata 1 2021–2025) Structural Welding Code – Steel | Update Required | AWS D1.1/D1.1M (2025) Structural Welding Code – Steel | 2020 edition superseded; UFGS master specs track current AWS editions
ASTM A36/A36M | (2019) Standard Specification for Carbon Structural Steel | Conditional Update | ASTM A36/A36M (2024) Standard Specification for Carbon Structural Steel | Used for bearing plates and miscellaneous steel
ICC IBC | (2024) International Building Code | Acceptable | ICC IBC (2024) International Building Code | Current adopted IBC edition for UFGS
SSPC PA 1 | (2024) Shop, Field, and Maintenance Coating of Metals | Acceptable | SSPC PA 1 (2024) Shop, Field, and Maintenance Coating of Metals | Current procedural coating standard
SSPC Paint 15 | (1999; E 2004) Steel Joist Shop Primer/Metal Building Primer | Review / Legacy | SSPC Paint 15 (1999; E 2004) Steel Joist Shop Primer/Metal Building Primer | Legacy joist primer standard; acceptable but dated
SSPC SP 2 | (2024) Hand Tool Cleaning | Acceptable | SSPC SP 2 (2024) Hand Tool Cleaning | Current surface preparation standard
SJI COMPOSITE JOISTS | (2007; Supplement 1 2010–2020) | Acceptable (Legacy) | SJI Composite Steel Joist Catalog (2007; Supplement 1 through 2020) | SJI catalogs maintained via supplements
SJI LOAD TABLES | (2020) 45th Edition | Update Recommended | SJI Load Tables (2023) Standard Specifications, Load Tables and Weight Tables for Steel Joists and Joist Girders | SJI has issued newer editions; UFGS should align
SJI MANUAL | (2009) 80 Years of Open Web Steel Joist Construction | Conditional Keep | SJI Manual (2009) 80 Years of Open Web Steel Joist Construction | Informational; used for existing joist systems
29 CFR 1926 | Safety and Health Regulations for Construction | Acceptable | 29 CFR 1926 Safety and Health Regulations for Construction | Federal regulation; stable reference
29 CFR 1926.756 | Steel Erection; Beams and Columns | Acceptable | 29 CFR 1926.756 Steel Erection; Beams and Columns | OSHA Subpart R requirement
29 CFR 1926.757 | Steel Erection; Open Web Steel Joists | Acceptable | 29 CFR 1926.757 Steel Erection; Open Web Steel Joists | OSHA joist erection requirement